## Tabelle1
test | physical_range | physical_range (#1) | measuring_range | measuring_range (#1) | calibration_range | calibration_range (#1) | expertise_range | expertise_range (#1) | gradient_range | gradient_range (#1) | dynamic_consistency | multivariate_range (#2) | multivariate_range (#3) | multivariate_range (#4) | timestamp_consistency | timestamp_consistency (#1) | index_dupplicated | missing_test
parameter | lower_limit | upper_limit | lower_limit | upper_limit | lower_limit | upper_limit | lower_limit | upper_limit | lower_limit | upper_limit | other | other | other_lower_limit | other_upper_limit | time_step | tolerance | keep | use_test
app1_conc [mg/l] | 0 | 1000000 | 0 | 6000 |  |  | 20 | 2500 | -3000 | 3000 |  | app1_h [m] | 0.15 |  |  |  |  | True
app1_t_water [C] | (0 | 100) | -20 | 60 |  |  | 10 | 25 | -1 | 1
app1_h [m] | 0 |  | 0.0005 | 5
Datum/Uhrzeit | [14 empty] | 30s | 0s | False | False